MINIBLUE® pump available with:	9

CR PLUG

X87-500

RTeEsMerPvEoRirAsTeUnsRoEr

SENSOR

X87-504

8

FLOW RATE L/HR

7

6

5

4

3

2

0

DIMENSIONS (MM)

138

58

All of the BLUEDIAMOND® pumps have the ability to run dry without burning out. Enabling them to remove

2	4	6

HEAD (M)

8	10

RUN DRY

WHISPER QUIET

any liquids, preventing organic growth inside the tubing.

67

55

Quiet in all stages of operation and not only when set to quiet mode or relying on a soft start setting.

DISCHARGE PIPE RUN

V (VERTICAL)

H (HORIZONTAL)

*8 KW MAX

+44 (0)1932 355 277

The	MINIBLUE® can	be	mounted	in	any orientation up to 8m away from the A.C unit.

WWW.BLUEDIAMONDPUMP.COM

INFO@BLUEDIAMONDPUMP.COM

ROTARY DIAPHRAGM

3WARRANTY

PERFORMANCE

21 dba

Running either wet or dry, the MINIBLUE® is whisper quiet whilst reliably removing condensate and debris. Inherently reliable whilst self priming it gives peristaltic performance at the price of a piston pump. The MINIBLUE® is small enough to quickly fit, or retro fit, into any existing installation, saving both time and money.

SENSING OPTION

PERFORMANCE

MAX LIFT

5 METRES

MAX HEAD

8 METRES

MAX FLOW

8 L/ HOUR

UNIT

3.5-8 KW

YEAR

| 8 M | 0 M |
| --- | --- |
| 7 M | 3 M |
| 6 M | 6 M |
| 5 M | 9 M |
| 4 M | 12 M |
| 3 M | 15 M |
| 2 M | 18 M |
| 1 M | 21 M |